## Sheet1
Description | Description 2 | Size | Qty | Date | Plant No
Pump-553 dismantling, shifting & erection work. |  |  |  | 2020-04-21 | 5
EQ Dismantling
Rotary Equipment GR Floor
Pump-553 |  |  | 0.5
EQ Shifting
Pump-553 ( 150 Mtr ) |  |  | 0.5
EQ Erection
Rotary Equipment GR Floor
Pump-553 |  |  | 0.5
Pump-553 line dismantling work.
Only Dismantling
S.S. Pipe |  | 2" | 1
Pump-553 line dismantling & refitting work.
Dismantling & Refitting
S.S. Pipe |  | 1 1/2" | 2

## Sheet2
Description | Description 2 | Size | Qty | Date | Plant No
Pump -553 suction line fabrication & fitting work. |  |  |  | 2020-04-21 | 5
Fabrication & Erection
S.S. Pipe |  | 2" | 0.7
S.S. Flange |  | 2" | 2
S.S. Bend |  | 2" | 1
Pump -553 strainer fabrication & fitting work.
Fabrication & Erection
S.S. Pipe |  | 4" | 0.4
S.S. Tee Joint |  | 2" | 2
S.S. Flange |  | 4" | 2
S.S. Flange |  | 2" | 2
S.S. Joint |  | 2" | 1
S.S. Pipe |  | 2" | 0.3
Pump -553 discharge header fabrication & fitting work.
Fabrication & Erection
S.S. Flange |  | 1 1/2" | 1

## Sheet3
Description | Description 2 | Size | Qty | Date | Plant No
H.P.F. -504 spannar fabrication & fitting work. |  |  |  | 2020-04-21 | 5
Fabrication & Erection
S.S. Reducer |  | 3" x 1 1/2" | 1
S.S. Joint |  | 1 1/2" | 2
S.S. Tee Joint |  | 1 1/2" | 1
S.S. Joint |  | 3" | 1
S.S. Pipe |  | 1" | 0.5
S.S. Pipe |  | 1 1/2" | 0.5
S.S. Cutting |  |  | 1
H.P.F. -504 steam line fabrication & fitting work.
Fabrication & Erection
S.S. Pipe |  | 1" | 1
S.S. Flange |  | 1" | 5
S.S. Tee Joint |  | 1" | 1
S.S. Bend |  | 1" | 3
R-523 washing line fabrication & fitting work.
Fabrication & Erection
S.S. Pipe |  | 1" | 0.3
S.S. Flange |  | 1" | 2
S.S. Joint Cleaning |  | 1" | 5
V-513 header handle welding work.
Small Support Fabrication |  |  | 1

## Sheet4
Description | Description 2 | Size | Qty | Date | Plant No
Plant-5 terrace H.K. vaccum cooling line strainer fabrication & fitting work. |  |  |  | 2020-04-21 | 5
Fabrication & Erection
S.S. Pipe |  | 6" | 0.35
S.S. Flange |  | 6" | 3
S.S. Flange |  | 2" | 2
S.S. Tee Joint |  | 2" | 1
S.S. Pipe |  | 2" | 0.4
Drilling Hole Dia |  | 5/8" | 60
S.S. Welding upto 5 mm |  |  | 0.3
Small Support Fabrication |  |  | 1
S.S. Joint |  | 6" | 1
S.S. Cutting |  |  | 0.5
S.S. Pipe |  | 2" | 2.5
S.S. Bend |  | 2" | 3
S.S. Flange |  | 2" | 4
S.S. Flange |  | 3" | 1
S.S. Flange |  | 1 1/2" | 1
S.S. Reducer |  | 2" x 1 1/2" | 1
S.S. Reducer |  | 3" x 2" | 1
S.S. Joint |  | 3" | 1
S.S. Joint |  | 2" | 1
S.S. Flange |  | 1/2" | 1
S.S. Pipe |  | 1/2" | 0.3
S.S. Flange |  | 1/2" | 1
S.S. Valve |  | 1/2" | 1
S.S. Valve |  | 2" | 2
Only Dismantling
S.S. Pipe |  | 2" | 3.5

## Sheet5
Description | Description 2 | Size | Qty | Date | Plant No
Terrace vaccum pump cooling water line support fabrication & fitting work. |  |  |  | 2020-04-30 | 5
Fabrication & Erection
M.S. Pipe |  | 1 1/2" | 1.5
M.S. Pipe |  | 1" | 2.5
M.S. Joint |  | 1" | 4
Small Support Fabrication |  |  | 3
M.S. Joint |  | 1 1/2" | 4
U-Clamp Fixing |  | 1" | 6
Structural Steel Upto 5 mtr.
M.S. Plate | 0.20 Mtr x 0.20 Mtr x 6 MM x 3 Nos
M.S. Plate Cutting up to 8 mm. |  |  | 1
Vaccum vent terrace fabrication & fitting work.
Fabrication & Erection
S.S. Pipe |  | 2" | 3.5
S.S. Bend |  | 2" | 2
S.S. Flange |  | 2" | 1
S.S. Joint |  | 2" | 2

## Sheet6
Description | Description 2 | Size | Qty | Date | Plant No
A.H.R.-547 bottom line fabrication & dismantling work. |  |  |  | 2020-05-13 | 5
Fabrication & Erection
S.S. Pipe |  | 2" | 0.8
S.S. Flange |  | 2" | 3
S.S. Tee Joint |  | 2" | 1
Small Support Fabrication |  |  | 1
U-Clamp Fixing |  | 2" | 1
U-Clamp Fixing |  | 1/2" | 1
Only Dismantling
S.S. Pipe |  | 2" | 1

## Sheet7
Description | Description 2 | Size | Qty | Date | Plant No
Nauta drayer hot water line fabrication & dismantling work. |  |  |  | 2020-05-11 | 5
Fabrication & Erection
S.S. Pipe |  | 1" | 1
S.S. Gas Heating Cold Bend |  | 1" | 3
S.S. Flange |  | 1" | 1
S.S. Flange |  | 2" | 1
S.S. Flange |  | 2" | 2
S.S. Reducer |  | 3" x 2" | 1
S.S. Joint |  | 3" | 1
S.S. Bend |  | 3" | 2
S.S. Flange |  | 3" | 1
S.S. Tee Joint |  | 2" | 1
S.S. Pipe |  | 3" | 3.5
Only Dismantling
S.S. Pipe |  | 1" | 1
S.S. Pipe |  | 3" | 3.5
Insulation removing work. |  |  | 0
Labour Supply
2 Rigger | 2 Hrs |  | 4

## Sheet8
Description | Description 2 | Size | Qty | Date | Plant No
V-517 jacket header fabrication & dismantling work. |  |  |  | 2020-05-11 | 5
Fabrication & Erection
S.S. Pipe |  | 3" | 1.2
S.S. Flange |  | 2" | 5
S.S. Flange |  | 3" | 2
S.S. Tee Joint |  | 2" | 5
S.S. Pipe |  | 3" | 1.2
S.S. Pipe |  | 2" | 1.2
Insulation removing work. |  |  | 0
Labour Supply
2 Rigger | 2 Hrs |  | 4
C/F-507 washing line fabrication & fitting work.
Fabrication & Erection
S.S. Pipe |  | 1" | 0.3
S.S. Flange |  | 1" | 2
S.S. Gas Heating Cold Bend |  | 1" | 1
Only Dismantling
S.S. Pipe |  | 3" | 1.2
S.S. Pipe |  | 3" | 1.2

## Sheet9
Description | Description 2 | Size | Qty | Date | Plant No
V-507 by pass line fabrication & dismantling work. |  |  |  | 2020-05-12 | 5
Fabrication & Erection
M.S. Pipe |  | 1" | 2
M.S. Gas Heating Cold Bend |  | 1" | 4
M.S. Flange |  | 1" | 2
Insulation removing work. |  |  | 0
Labour Supply
2 Rigger | 2 Hrs |  | 4
V-502 jacket line fabrication & dismantling work.
Fabrication & Erection
S.S. Pipe |  | 2" | 1.2
S.S. Bend |  | 2" | 2
S.S. Flange |  | 2" | 2
S.S. Tee Joint |  | 1/2" | 1
S.S. Flange |  | 1/2" | 1
Insulation removing work. |  |  | 0
Labour Supply
2 Rigger | 2 Hrs |  | 4
V-516, V-517 pulley puller fabrication & fitting work.
Fabrication & Erection
S.S. Joint |  | 1" | 8
S.S. Pipe |  | 1" | 2
S.S. Flange |  | 2" | 1
Only Dismantling
M.S. Pipe |  | 1" | 2
S.S. Pipe |  | 2" | 1.2

## Sheet10
Description | Description 2 | Size | Qty | Date | Plant No
V-501 primary condensor chw line fabrication & dismantling work. |  |  |  | 2020-05-06 | 5
Fabrication & Erection
S.S. Pipe |  | 2" | 2
S.S. Bend |  | 2" | 2
S.S. Flange |  | 2" | 2
Insulation removing work. |  |  | 0
Labour Supply
2 Rigger | 2 Hrs |  | 4
V-513 jacket welding work.
M.S. Plate Cutting up to 8 mm. |  |  | 5
M.S. Welding upto 5 mm |  |  | 20
Only Dismantling
S.S. Pipe |  | 2" | 2

## Sheet11
Description | Description 2 | Size | Qty | Date | Plant No
V-508 Condensor Plate dismantling & erection work. |  |  |  | 2020-04-26 | 5
EQ Dismantling
Static Equipment Third Floor
V-508 Condensor Plate |  |  | 0.5
EQ Erection
Static Equipment Third Floor
V-508 Condensor Plate |  |  | 0.5
V-508 Condensor Plate Welding Work.
S.S. Welding upto 5 mm |  |  | 5
V-508 Condensor Plate Gasket Cutting Work. |  |  | 0
Labour Supply
1 Rigger |  |  | 2
1 Fitter |  |  | 2

## Sheet12
Description | Description 2 | Size | Qty | Date | Plant No
A.H.S.P.-100, motor 50HP guard fabrication & fitting work. |  |  |  | 2020-05-19 | 5
Motor Guard Fitting 5 hp. |  |  | 1
A.H.V.-502 to A.H.M./F.-502 fabrication & dismantling work.
Fabrication & Erection
S.S. Pipe |  | 1" | 14.9
S.S. Gas Heating Cold Bend |  | 1" | 7
S.S. Flange |  | 1" | 12
S.S. Joint |  | 1" | 7
S.S. Valve |  | 1" | 1
Small Support Fabrication |  |  | 4
U-Clamp Fixing |  | 1" | 8
S.S. Joint Cleaning |  | 1" | 31
Earthing Clamp Fixing |  |  | 8
Plant-5 C.H.-501 panal board clamp fabrication & fitting work.
Small Support Fabrication |  |  | 4
Only Dismantling
S.S. Pipe |  | 1" | 14.9

## Sheet13
Description | Description 2 | Size | Qty | Date | Plant No
R-514 S.S. line fabrication & dismantling work. |  |  |  | 2020-05-19 | 5
Fabrication & Erection
H.D.P.E. Pipe | 5.30 Mtr x 2 Times | 2" | 10.6
H.D.P.E. Bend | 1 Nos x 2 Times | 2" | 2
H.D.P.E. Flange | 2 Nos x 2 Times | 2" | 4
H.D.P.E. Joint | 2 Nos x 2 Times | 2" | 4
R-550 line transfering line fabrication & dismantling work.
Fabrication & Erection
S.S. Pipe |  | 2" | 3.2
S.S. Bend |  | 2" | 2
S.S. Flange |  | 2" | 2
S.S. Joint |  | 2" | 1
H.D.P.E. Pipe |  | 2" | 1.8
H.D.P.E. Bend |  | 2" | 1
H.D.P.E. Flange |  | 2" | 2
M.S. Flange |  | 2" | 2
Only Dismantling
H.D.P.E. Pipe | 5.30 Mtr x 2 Times | 2" | 10.6
S.S. Pipe |  | 2" | 3.2
H.D.P.E. Pipe |  | 2" | 1.8

## Sheet14
Description | Description 2 | Size | Qty | Date | Plant No
C/F-511 Top Cover dismantling & erection work. (Date: 19.05.2020) |  |  |  | 2020-05-19 | 5
EQ Dismantling
Rotary Equipment First Floor
C/F-511 Top Cover |  |  | 0.5
EQ Erection
Rotary Equipment First Floor
C/F-511 Top Cover |  |  | 0.5
Dismantling & Refitting
S.S. Pipe | Feeding Line | 3" | 1
S.S. Valve |  | 3" | 1
S.S. Sight Glass |  | 3" | 1
S.S. Pipe | Vent Line | 3" | 1
S.S. Pipe | Feeding Line | 1" | 3
S.S. Valve |  | 1" | 1

## Sheet15
Description | Description 2 | Size | Qty | Date | Plant No
V-514 drain line fabrication & fitting work. |  |  |  | 2020-05-18 | 5
Fabrication & Erection
S.S. Pipe |  | 2" | 4
S.S. Flange |  | 2" | 2
S.S. Coupling |  | 2" | 1
S.S. Joint |  | 2" | 1
V-518 bottom line fabrication & fitting work.
Fabrication & Erection
S.S. Pipe |  | 1" | 4.4
S.S. Gas Heating Cold Bend |  | 1" | 6
S.S. Flange |  | 1" | 9
S.S. Joint |  | 1" | 2
S.S. Valve |  | 1" | 3
S.S. Tee Joint |  | 1" | 2
S.S. Nipple | Hose | 1" | 1
Dip stick stand fabrication & fitting work.
Fabrication & Erection
S.S. Pipe |  | 1 1/2" | 1
S.S. Pipe |  | 1" | 0.2
S.S. Joint |  | 1" | 2
S.S. Reducer |  | 1 1/2" x 1" | 1
S.S. Coupling |  | 1/2" | 1
S.S. Nipple | Hex | 1/2" | 1
S.S. Tee Joint |  | 1" | 1
Hole Cutting by Gas |  |  | 4
Drilling Hole Dia |  | 1/2" | 4
S.S. Cutting |  |  | 1

## Sheet16
Description | Description 2 | Size | Qty | Date | Plant No
V-502 drain & jacket vent line fabrication & dismantling work. |  |  |  | 2020-05-18 | 5
Fabrication & Erection
M.S. Pipe |  | 2" | 3.5
M.S. Bend |  | 2" | 6
M.S. Flange |  | 2" | 2
M.S. Flange |  | 1" | 1
M.S. Tee Joint |  | 1" | 1
M.S. Joint |  | 2" | 1
A.H.S. -502 clamp welding work.
S.S. Welding upto 5 mm |  |  | 1
V-501 condenser clw line fabrication & dismantling work.
Fabrication & Erection
M.S. Pipe |  | 2" | 3.2
M.S. Bend |  | 2" | 6
M.S. Flange |  | 2" | 4
M.S. Coupling |  | 2" | 1
M.S. Nipple | Barral | 2" | 1
M.S. Flange |  | 2" | 4
M.S. Joint |  | 2" | 2
Only Dismantling
M.S. Pipe |  | 2" | 3.5
Insulation removing work. |  |  | 0
Labour Supply
2 Rigger | 2 Hrs |  | 4

## Sheet17
Description | Description 2 | Size | Qty | Date | Plant No
H.P.F.-503 discharge line fabrication & dismantling work. |  |  |  | 2020-05-29 | 5
Fabrication & Erection
S.S. Pipe |  | 2" | 2
S.S. Flange |  | 2" | 4
S.S. Pipe |  | 3" | 2
S.S. Gas Heating Cold Bend |  | 1" | 6
S.S. Pipe |  | 1" | 1
S.S. Flange |  | 1" | 6
Plant-5 vaccum line fabrication & dismantling work.
Fabrication & Erection
S.S. Pipe |  | 2" | 3
S.S. Bend |  | 2" | 2
S.S. Flange |  | 2" | 2
S.S. Coupling |  | 2" | 2
S.S. Nipple | Barral | 2" | 1
S.S. Joint |  | 2" | 1
Plant-5 nitrogen line N.R.V. fabrication & dismantling work.
Fabrication & Erection
S.S. Bend |  | 1 1/2" | 1
S.S. Flange |  | 1" | 1
S.S. Flange |  | 1 1/2" | 1
S.S. Reducer |  | 1 1/2" x 1" | 1
S.S. Valve |  | 1 1/2" | 1
Making Hole in Brick Wall |  |  | 2
Only Dismantling
S.S. Pipe |  | 2" | 2
S.S. Pipe |  | 3" | 2
S.S. Pipe |  | 2" | 3

## Sheet18
Description | Description 2 | Size | Qty | Date | Plant No
C.H.-501 panal board support fabrication & fitting work. |  |  |  | 2020-05-29 | 5
Fabrication & Erection
Structural Steel Upto 5 mtr.
I.S.M.C 100 | 1.30 Mtr x 2 Nos
M.S. Plate | 0.15 Mtr x 0.15 Mtr x 6 MM
Hole Cutting by Gas |  |  | 8
Drilling Hole Dia |  | 5/8" | 8
Shifter -502 clamp fabrication & fitting work.
Small Support Fabrication |  |  | 2
S.F.-504 center rod welding work.
Fabrication & Erection
S.S. Joint |  | 1/2" | 2

## Sheet19
Description | Description 2 | Size | Qty | Date | Plant No
H.P.F.-504 bottom line fabrication & fitting work. |  |  |  | 2020-05-25 | 5
Fabrication & Erection
S.S. Pipe |  | 2" | 1.5
S.S. Flange |  | 2" | 12
S.S. Bend |  | 2" | 1
S.S. Tee Joint |  | 1" | 1
S.S. Pipe |  | 1" | 1
S.S. Flange |  | 1" | 4
Pump to H.P.F. -504 fabrication & fitting work.
Fabrication & Erection
S.S. Pipe |  | 2" | 3
S.S. Flange |  | 2" | 3
S.S. Valve |  | 2" | 2
S.S. Tee Joint |  | 1" | 1
S.S. Valve |  | 1" | 1
Pump suction line fabrication & fitting work.
Fabrication & Erection
S.S. Pipe |  | 2" | 2
S.S. Bend |  | 2" | 1
S.S. Flange |  | 2" | 4
S.S. Pipe |  | 1" | 2
S.S. Flange |  | 1" | 4
S.S. Valve |  | 1" | 1
S.S. Valve |  | 2" | 1

## Sheet20
Description | Description 2 | Size | Qty | Date | Plant No
H.P.F. vent line fabrication & fitting work. |  |  |  | 2020-05-25 | 5
Fabrication & Erection
S.S. Pipe |  | 1" | 1
S.S. Valve |  | 1" | 1
S.S. Flange |  | 1" | 4
S.S. Flange |  | 2" | 1
H.P.F. frame dismantling & refitting work.
Dismantling & Refitting
Structural Dismantling & Refitting
I.S.M.C 100 | 1.10 Mtr x 4 Nos
I.S.M.C 100 | 0.60 Mtr x 4 Nos
I.S.M.C 100 | 1.60 Mtr x 2 Nos
M.S. Plate | 0.20 Mtr x 0.20 Mtr x 6 MM
H.P.F.-504 dismantling, shifting & erection work.
EQ Dismantling
Rotary Equipment Second Floor
H.P.F.-504 |  |  | 1.2
EQ Shifting
H.P.F.-504 ( 600 Mtr ) |  |  | 1.2
EQ Erection
Rotary Equipment Second Floor
H.P.F.-504 |  |  | 1.2

## Sheet21
Description | Description 2 | Size | Qty | Date | Plant No
Plant-5 condensate drain line fabrication & dismantling work. |  |  |  | 2020-05-25 | 5
Fabrication & Erection
M.S. Pipe |  | 4" | 1
M.S. Flange |  | 4" | 2
H.P.F. -504/503 discharge line , Teflon & jacket fabrication & dismantling work.
Fabrication & Erection
S.S. Pipe |  | 2" | 3
S.S. Flange |  | 2" | 6
S.S. Joint |  | 1" | 6
S.S. Flange |  | 1" | 6
S.S. Gas Heating Cold Bend |  | 1" | 8
S.S. Flange |  | 1" | 10
S.S. Pipe |  | 1" | 1
S.S. Pipe |  | 3" | 3
Insulation removing work. |  |  | 0
Labour Supply
2 Rigger | 2 Hrs |  | 4
Only Dismantling
M.S. Pipe |  | 4" | 1
S.S. Pipe |  | 2" | 2
S.S. Pipe |  | 3" | 3

## Sheet22
Description | Description 2 | Size | Qty | Date | Plant No
H.P.F.-504 bottom line fabrication & fitting work. |  |  |  | 2020-05-26 | 5
Fabrication & Erection
S.S. Joint |  | 6" | 2
S.S. Joint |  | 2" | 2
S.S. Welding upto 5 mm |  |  | 2
R-546 transfering line support fabrication & fitting work.
Fabrication & Erection
Small Support Fabrication |  |  | 2
U-Clamp Fixing |  | 2" | 4

## Sheet23
Description | Description 2 | Size | Qty | Date | Plant No
S.S. / M.S. flange cutting from scrap for Plant-5 pipe lines work. |  |  | 0 | 2020-05-27 | 5
S.S. Flange Cutting From Scrap |  | 1/2" | 3
S.S. Flange Cutting From Scrap |  | 1" | 66
S.S. Flange Cutting From Scrap |  | 1 1/2" | 3
S.S. Flange Cutting From Scrap |  | 2" | 63
S.S. Flange Cutting From Scrap |  | 3" | 4
S.S. Flange Cutting From Scrap |  | 4" | 2
S.S. Flange Cutting From Scrap |  | 6" | 3
M.S. Flange Cutting From Scrap |  | 1" | 3
M.S. Flange Cutting From Scrap |  | 2" | 12
M.S. Flange Cutting From Scrap |  | 4" | 2